Review began 12/19/2025

Review ended 01/03/2026

Published 01/12/2026

© Copyright 2026

Godfrey et al. This is an open access article

distributed under the terms of the Creative

Commons Attribution License CC-BY 4.0.,

which permits unrestricted use, distribution,

and reproduction in any medium, provided

the original author and source are credited.

DOI: 10.7759/cureus.101406

Application of AI to Ultrasonographic Images to

Aid the Clinical Care of Pregnant Women With

Pre-eclampsia in Uganda: A Protocol for a Pilot

Study

Mugyenyi R. Godfrey , Fredrick Atwiine , Esther C Atukunda , Leo Anthony Celi , Rogers Mwavu ,

Fred Kaggwa , Jessica E Haberer , William Wasswa

1. Obstetrics and Gynaecology, Mbarara University of Science and Technology (MUST), Mbarara, UGA 2. Obstetrics and

Gynaecology, Divine Mercy Hospital-Father Bash Foundation, Mbarara, UGA 3. Mbarara University Data Science

Research Hub, Mbarara University of Science and Technology, Mbarara, UGA 4. Pharmacy, Mbarara University of

Science and Technology, Mbarara, UGA 5. Medicine, Beth Israel Deaconess Medical Center, Harvard Medical School,

Boston, USA 6. Computing and Informatics, Mbarara University of Science and Technology, Mbarara, UGA 7. Internal

Medicine, Harvard Medical School, Massachusetts General Hospital, Boston, USA 8. Computing and Informatics,

Mbarara University Data Science Research Hub, Mbarara University of Science and Technology, Mbarara, UGA 9. App

Development, Global Auto Systems LTD, Mbarara, UGA

Corresponding author: Mugyenyi R. Godfrey, gmugyenyi@must.ac.ug

Abstract

Background

Artificial intelligence (AI) refers to computer systems designed to perform tasks requiring human

intelligence, including medical diagnosis. AI methods have enhanced diagnostic processes across various

diseases. In obstetrics, conditions such as pre-eclampsia are typically assessed using USG, yet access to these

services and trained sonographers remains limited. Automated diagnosis using AI applied to stored images

offers an opportunity to improve maternal and fetal outcomes. In Uganda, progress in integrating AI into

obstetric care has been minimal, despite the high burden of complications. This study aims to create a

Doppler USG image database, annotated for machine learning models to predict pre-eclampsia

complications.

Methods

This cross-sectional study will enroll 150 pregnant women seeking obstetric USG services at Divine Mercy

Hospital, Mbarara City, Uganda. Participants will be recruited consecutively from the outpatient department,

with half expected to have pre-eclampsia. Sociodemographic, obstetric, and clinical data will be

systematically collected, de-identified, and linked to corresponding Doppler ultrasonographic images. Data

elements will include acquisition parameters, key Doppler indices, and anonymized demographic

information. All data will be securely stored in a structured repository hosted by the Data Management and

Analysis Core (DMAC) of the Mbarara University Data Science Research Hub. Images will be annotated using

a standardized protocol by trained experts and linked with structured clinical metadata. The dataset will be

partitioned into training, validation, and test subsets. Machine learning approaches will include

convolutional neural networks, ensemble learning, and transfer learning. Performance will be evaluated

using cross-validation, area under the receiver operating characteristic (ROC) curve (AUC), precision, recall,

and F1-score, with hyperparameter optimization via grid and Bayesian search.

Results

The primary outcome will be a de-identified, annotated dataset of obstetric Doppler ultrasonographic

images linked to structured clinical metadata, including the amniotic fluid index, fetal heart rate, umbilical

and cerebral arteries, uterine arteries, and placenta. Images will undergo standardized preprocessing and

dual expert review, with discrepancies adjudicated by a third reviewer. The secondary outcome is a

multimodal AI tool predicting maternal and fetal complications of pre-eclampsia. Data collection targets

150 participants, funded by the National Institutes of Health (NIH) Data Science Initiative for Africa.

Discussion

In settings with limited access to expert imaging, this study will develop a high-quality annotated dataset

and a context-specific machine learning model trained on images from pre-eclamptic and non-preeclamptic

pregnancies. It will be among the first obstetric AI datasets derived entirely from an African

population, addressing global gaps in representation. Aligned with Uganda’s Digital Health Strategy, the

study supports innovative tools to strengthen clinical decision-making, improve maternal and perinatal

outcomes, and advance AI integration into routine obstetric care in low-resource settings.

Conclusion

1, 2, 3 4 4 5 3, 6

6 7 8, 9

Open Access Original Article

How to cite this article

Godfrey M R, Atwiine F, Atukunda E, et al. (January 12, 2026) Application of AI to Ultrasonographic Images to Aid the Clinical Care of Pregnant

Women With Pre-eclampsia in Uganda: A Protocol for a Pilot Study. Cureus 18(1): e101406. DOI 10.7759/cureus.101406

This study will generate one of the first annotated obstetric Doppler ultrasound datasets from sub-Saharan

Africa. The findings will inform potential integration of AI tools into routine maternal healthcare.

Categories: Obstetrics/Gynecology, Healthcare Technology

Keywords: artificial intelligence(ai), clinical data science, machine learning in medicine, pre-eclampsia,

ultrasonographic images

Introduction

Obstetric ultrasonographic imaging, also known as prenatal or pregnancy ultrasound scans (USS), plays a

vital role in obstetric care by providing a safe, non-invasive, and highly effective method for monitoring

fetal development and maternal health throughout pregnancy [1, 2]. It is used for confirming pregnancy,

estimating gestational age, detecting multiple pregnancies, and assessing fetal growth, anatomy, and wellbeing

[3]. USS is also instrumental in identifying congenital anomalies, placental abnormalities, biological

sex, and pregnancy or fetal complications, although most guidelines still recommend clinical assessment as

a cost-effective screening tool to identify growth restriction [4, 5]. Doppler ultrasound further aids in

evaluating blood flow to detect conditions like fetal growth restriction and preeclampsia [6-8]. Regular

ultrasound assessments enhance prenatal care by facilitating early diagnosis, guiding interventions, and

improving pregnancy outcomes [9].

Advancements in medical technology have further enhanced obstetric care, with artificial intelligence (AI)

emerging as a powerful tool in disease diagnosis, including the detection and management of diseases, a

process traditionally performed by humans. AI refers to computer systems that perform tasks that typically

require human intelligence, mimic human behavior, and can be programmed to complete automated

processes [10], including medical diagnosis. AI-driven technologies are revolutionizing disease diagnosis

and management by improving the accuracy and efficiency of medical assessments. Machine learning, a

branch of AI, focuses on creating algorithms and statistical models that allow computers to learn from data

and make predictions or decisions with minimal human input [11]. Machine learning algorithms can analyze

vast amounts of ultrasound imaging data to detect anomalies such as fetal growth restriction, congenital

abnormalities, and placental disorders with greater precision. Ultrasonographic images have previously been

used in high-income countries to develop diagnostic predictive models for pediatric appendicitis [12] and

determination of fetal sex [13]. AI-driven technologies are revolutionizing disease diagnosis and

management by improving accuracy and efficiency of medical assessments. A recent SWOT-based review of

AI progress in clinical medicine reported that AI has been associated with improved diagnostic accuracy and

operational efficiency across clinical applications [14]. In low- and middle-income countries, information on

the use of USG images and machine learning in diagnosing fetal and maternal complications for early

treatment is not available.

Although training clinicians to perform USS in their routine clinical practice is more cost-effective in lowresource

countries, because clinicians are able to correlate USG and clinical situations better to guide patient

management, this would provide a good solution for the scarcity of sonographers in these settings.

Currently, clinicians request USS examinations, which sonographers perform, providing written reports and

images for clinical decision-making. This process is not only time-consuming, but often there is a scarcity of

qualified radiographers or sonographers to perform the examinations and limited expertise to interpret the

images. Using AI-powered decision-support systems, obstetric disease such as pre-eclampsia and its

complications could be diagnosed in time for appropriate management [15]. In the 2022/2023 financial year,

75% of pregnant women in Uganda received antenatal care from midwives and delivered at lower-level

health facilities that lack radiologists and sonographers. These facilities largely rely on diploma-level

midwives with minimal sonographic training, limiting their ability to diagnose complex cases [16].

Consequently, many women cannot access essential USG services, resulting in undetected complications,

misdiagnoses, and delayed treatment. AI offers promising solutions to improve clinical diagnosis and

address these obstetric challenges. In Uganda, a study has shown that AI can provide quality and objective

decision support in screening for cervical cancer [17]. AI-powered tools could enable lower-level clinicians to

achieve accurate diagnoses. However, there is currently little information on efforts to integrate AI into

routine care for pregnant women in Uganda, yet the burden of obstetric complications such as those

associated with pre-eclampsia is high and is greatly associated with maternal and perinatal deaths. The

primary objective for this pilot project is to create a de-identified, annotated Doppler USG dataset

comprising at least 900 images from 150 pregnant women (75 with pre-eclampsia, 75 without) at Divine

Mercy Hospital-Father Bash Foundation, Uganda. The secondary objective is to develop and evaluate a

multimodal AI tool capable of predicting maternal and fetal complications of pre-eclampsia with target

performance metrics. We hypothesize that a machine learning model trained on locally sourced Doppler USG

images combined with clinical metadata can predict pre-eclampsia complications with clinically acceptable

accuracy.

Materials And Methods

Study design

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 2 of 15

This will be a cross-sectional study of pregnant women seeking obstetric USG services at Divine Mercy

Hospital, Mbarara City, Uganda.

Study setting

Divine Mercy Hospital-Father Bash Foundation is a private for-profit hospital located in Kamukuzi Division,

Mbarara City, about 270 km southwest of Kampala, the capital city of Uganda. It offers both general and

specialized medical services [18] and serves a population from about 15 districts surrounding Mbarara, but

receives patients from wider western Uganda and beyond. Divine Mercy Hospital has a bed capacity of 100

and receives, on average, 16,805 patients (9,990 females and 6,815 males), with 35,000 outpatient visits

annually. The Radiology Department of Divine Mercy Hospital performs approximately 5,000 obstetric

ultrasound examinations annually. The department employs two radiographers supported by a radiologist,

who provide a written report for every examination performed.

Study population

We shall enroll 150 pregnant women attending antenatal care and seeking an obstetric USG examination at

Divine Mercy Hospital, half of whom will have pre-eclampsia. Pre-eclampsia will be evidenced by the

presence of high blood pressure >140/90 mmHg and proteinuria of 2+ and above after 20 weeks of gestation,

and participants must be willing to consent. Severely ill patients and those in need of immediate delivery

will be excluded.

Sample size determination

This study will collect ultrasonographic images from pregnant women attending antenatal care at Divine

Mercy Hospital. Our target is to collect an equal number of images from all participants, which will be

annotated for algorithm model development to predict maternal and fetal complications for early treatment

and delivery. According to hospital records, about 75 pregnant women out of about 5,000 managed at Divine

Mercy Hospital annually have pre-eclampsia. For this pilot study, we propose to recruit approximately 150

pregnant women (75 with pre-eclampsia and 75 without). From each participant, we will collect 6 images of

the fetus and the placenta, giving an overall total of 900 ultrasonographic images.

Sampling procedure

Participants will be recruited from the outpatient department of Divine Mercy Hospital using a purposive

sampling method for women with pre-eclampsia and a consecutive sampling method for patients without

pre-eclampsia. On each data collection day, all women requested to have a sonographic examination will be

approached for informed consent for participation in this study before recruitment.

Study outcomes

The primary outcome will be an annotated dataset of quality Doppler ultrasonographic images. The

secondary outcome will be an automated AI tool to predict maternal and fetal complications of preeclampsia

for early treatment or timing of delivery.

Data collection procedures

Data will be collected using a customized smart mobile application, SonoAI. This SonoAI mobile application

will be developed by a dedicated research team of data scientists, information technology experts, and

clinicians (obstetricians/gynaecologists, radiologists, and ultrasonographers). The SonoAI mobile

application shall include a user-friendly interface for data entry and participant enrollment, as well as a

data-driven dashboard for image upload and data management, including quality assurance, data review,

and labelling.

This SonoAI mobile application will be used to collect the following data: (a) Sociodemographic data

(including age, weight, height, BMI, occupation, marital status, and tribe). Each participant shall be assigned

a unique participant identifier. (b) Obstetric characteristics (last normal menstrual period, gestational age,

gravidity/parity, previous pregnancy complications, previous mode of delivery, and history of hypertension).

(c) Diagnosis and laboratory data (clinical diagnosis, ultrasound findings, booking blood pressure, blood

pressure at enrollment, and other features of severe pre-eclampsia). The laboratory data will include basic

haematological tests routinely done in patients with pre-eclampsia, such as CBC, platelet count, and urine

protein.

The SonoAI dashboard, a data analytics platform, will be used to register users, upload images, archive data,

and support data management processes. The dashboard will mainly be used for: (a) User management,

including creating user login accounts, managing access logins, and tracking data entered by each user. (b)

Uploading images into participant folders. (c) Data quality control (data review in both longitudinal and

report formats, data download, data editing, and deletion). (d) Data labelling (assigning images to the

labellers and managing the data labelling process, review, and approvals). (e) Linking and archiving images

and metadata to the Data Management and Analysis Core (DMAC) storage infrastructure of the Mbarara

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 3 of 15

University Data Science Research Hub.

Participant recruitment and consent

Adult pregnant women between 20 and 38 weeks of pregnancy will be recruited from the outpatient

department of Divine Mercy Hospital using consecutive sampling for women with normal blood pressure

and purposive sampling for women with pre-eclampsia. This will occur after they have been seen by a

clinician who would have requested an obstetric ultrasonographic examination. Participants will undergo

eligibility screening, and consent will be obtained from those eligible. Sociodemographic data shall be

obtained and entered directly into the SonoAI application. Laboratory and ultrasonographic examinations

will be performed following standard operating procedures outlined in Figure 1 and Table 1 below. All

pregnant women with a request for ultrasonographic examination between 20 and 38 weeks of gestation will

be approached by a trained research assistant for consent before recruitment. Information on the study will

be provided in a language clearly understood by the participant. Written consent shall be obtained. A

qualified sonographer or radiologist shall, at the time of examination, further explain the imaging procedure,

including answering any questions before the examination. In addition, a chaperone shall be present during

all ultrasonographic examinations.

FIGURE 1: Study procedures and standard operating procedures for

participants at enrollment.

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 4 of 15

SOP /

Examination

Purpose

Patient

preparation

Image acquisition

Measurement /

Calculation

Documentation /

Notes

Amniotic

Fluid Index

(AFI)

Measure

amniotic fluid

volume and

assess fetal

well-being

Supine with

slight left

lateral tilt;

expose

abdomen

(pubic

symphysis to

fundus)

Grayscale (B-mode). Divide uterus into 4 quadrants

using umbilicus as landmark (vertical linea alba +

horizontal line through umbilicus). In each quadrant,

identify deepest vertical fluid pocket free of cord/fetal

parts; measure pocket depth (cm) perpendicular to

uterine contour.

Sum the 4 pocket

depths = AFI

Record AFI and

abnormalities:

oligohydramnios AFI

< 5 cm,

polyhydramnios AFI

> 24 cm

Middle

Cerebral

Artery (MCA)

Doppler

Assess fetal

cerebral blood

flow for

anemia/hypoxia

Supine

Grayscale to axial fetal head; identify circle of Willis

and MCA. Activate color Doppler. Place PW Doppler

gate over proximal third of MCA; ensure insonation

angle <30°.

Capture PSV;

compare with

gestational-age

reference ranges

Save waveform

images; record PSV.

Elevated >1.5 MoM

suggests fetal

anemia

Umbilical

Artery (UA)

Doppler

Evaluate

placental

resistance and

fetal circulation

Supine

Grayscale to locate cord near fetal abdomen or

placental insertion. Activate color Doppler. Place PW

Doppler gate in a free-floating loop of UA.

Obtain waveforms

and calculate S/D

ratio, PI, RI; note

absent/reversed

end-diastolic flow

Save waveforms;

document indices.

Normal S/D ratio

decreases with

gestational age (e.g.,

<3.0 after 30 weeks)

Uterine

Artery (UtA)

Doppler -

right & left

Assess

maternal blood

flow to placenta

Supine

Grayscale to locate external iliac artery in lower lateral

uterus. Activate color Doppler to identify UtA crossing

iliac vessels. Place PW Doppler gate in UtA.

Obtain waveforms;

calculate PI;

assess for early

diastolic notch

(abnormal if

persistent after 24

weeks)

Record PI for both

uterine arteries;

normal PI < 1.45

after 24 weeks

Placental

evaluation

(Grayscale)

Assess

placental

location,

structure,

function

Supine

Grayscale scan of entire placenta. Note location

(anterior/posterior/previa). Measure thickness (normal

2-4 cm). Check for calcifications, retroplacental clots,

succenturiate lobes.

N/A

Document placental

position, texture,

thickness, and any

pathology

Fetal Heart

Rate (FHR)

Assess fetal

cardiac activity

Supine

Grayscale to fetal heart (4-chamber view). M-mode:

place M-line through ventricular wall. Spectral Doppler:

place sample gate over mitral or aortic valve.

Calculate FHR

using time

between two

consecutive beats

Record FHR (normal

120-160 bpm); note

arrhythmias or

decelerations

TABLE 1: Standard operating procedures for obtaining Doppler ultrasonographic images using

the Edan Acclarix LX25 diagnostic ultrasound system (version 1.5).

SOP: Standard Operating Procedure(s); AFI: Amniotic Fluid Index; MCA: Middle Cerebral Artery; UA: Umbilical Artery; UtA: Uterine Artery; PW: Pulsed-

Wave (Doppler); PSV: Peak Systolic Velocity; S/D ratio: Systolic-to-Diastolic ratio; PI: Pulsatility Index; RI: Resistance Index; MoM: Multiples of the

Median; FHR: Fetal Heart Rate; cm: centimeter(s); bpm: beats per minute; 2D/3D/4D: Two-dimensional/Three-dimensional/Four-dimensional; DICOM:

Digital Imaging and Communications in Medicine; CLAHE: Contrast Limited Adaptive Histogram Equalization; ROC: Receiver Operating Characteristic; AI:

Artificial Intelligence; CNN: Convolutional Neural Network; SGD: Stochastic Gradient Descent; DMAC: Data Management and Analysis Core; REC:

Research Ethics Committee; ROI: Region of Interest.

Study procedure

Participants with suspected pre-eclampsia (with enrollment blood pressure above 140/90 mmHg) will

undergo further laboratory tests. A qualified laboratory technician shall collect 4 mL of venous blood for

CBC, and a urine container shall be provided to the participant to collect a urine sample for urinalysis.

Hemoglobin (Hb) level and platelet count will be recorded, while the presence of proteins in urine will be

recorded after urinalysis. Participants with normal blood pressure at enrollment shall not undergo further

laboratory tests unless requested by the attending physician. Data shall then be collected from the

participants using the SonoAI application to record the necessary participant sociodemographic

information, clinical, diagnosis, and laboratory data. The participant shall then proceed to have a Doppler

USG examination. Data entered in the app shall be double-checked for completeness.

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 5 of 15

Image acquisition

Doppler USG images will be obtained using the Edan Acclarix LX25 Diagnostic Ultrasonography system,

version 1.5, which is a high-resolution ultrasound machine with 2D/3D/4D and Doppler capabilities [19].

This system consists of a main unit and associated ultrasound transducers, including curvilinear,

endovaginal, echo, and linear probes, that provide high-resolution images with internal storage capability.

Ultrasonographic images generated from all patients examined are automatically stored and can be retrieved

and converted to preferred shareable formats.

Doppler examination

The Doppler ultrasonographic examination shall be performed by qualified, well-trained radiographers using

standard operating procedures and standardized protocols [20, 21] outlined in Table 1 to generate images

relevant for clinical diagnosis. Ultrasonographic images for the amniotic fluid index (AFI) (Figure 2), middle

cerebral artery (MCA) (Figure 3), blood flow characteristics in the umbilical artery (UA) (Figure 4), right

uterine artery (Rt. Ut. A) (Figure 5), left uterine artery (Lt. Ut. A) (Figure 6), fetal heart rate (FHR) (Figure 7),

and blood flow characteristics in the placenta (Figure 8) shall be obtained.

FIGURE 2: Amniotic fluid index (AFI) measurement.

FIGURE 3: Middle cerebral artery (MCA) Doppler.

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 6 of 15

FIGURE 4: Umbilical artery Doppler.

FIGURE 5: Right uterine artery Doppler.

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 7 of 15

FIGURE 6: Left uterine artery Doppler.

FIGURE 7: Fetal heart rate (FHR) measurement.

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 8 of 15

FIGURE 8: Placental ultrasound image.

Image processing

Image processing to enhance quality will include elimination of extremely blurry and low-resolution images.

Noise reduction will be done using adaptive filtering, which helps preserve edges and structural details, and

wavelet transform, which decomposes the images into different frequency components, enabling noise to be

isolated and removed without affecting the main image features. For artifact removal, segmentation

techniques will be used to identify and isolate regions of interest to separate true anatomical structures from

artifacts. For image enhancement, histogram equalization to improve image contrast and adaptive contrast

enhancement, which modifies the brightness of different regions, will be used. Image normalization and

standardization will involve pixel intensity normalization, which adjusts the range of pixel intensities;

resolution standardization, which resamples all images to have a consistent resolution; and orientation

correction, which ensures that all images have a consistent orientation [22].

Image labelling

The aim of this image labelling protocol is to provide standardized guidelines for labelling Doppler

ultrasonographic images that shall be used to train an AI model for diagnosing pre-eclampsia and related

complications. Expert radiologists, sonographers, and obstetricians will meticulously label key anatomical

structures, fetal measurements, and potential abnormalities observed in the images related to preeclampsia.

All images will undergo step-by-step image quality assessment, as shown in Table 2. Labellers

shall ensure images are of high quality and in a standard image format, with standardized contrast and

brightness for better AI training. We shall avoid unnecessary filtering to prevent alteration of radiological

features. Images shall be converted to 16-bit grayscale, if necessary, for model consistency. We shall use

images to develop a dataset with standardized labels to improve AI diagnostic accuracy.

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 9 of 15

Steps in Image Quality Assessment

Does the image capture the correct anatomical structure or Doppler waveform intended for this study type? Yes No

Is the gestational age appropriate for interpreting the given image? Yes No

Is the image acquired in the correct standard plane/view? Yes No

Are there no significant artefacts that would affect interpretation of the image? Yes No

Is the image properly oriented? Yes No

Are the depth and zoom appropriate for visualizing the region of interest (ROI)? Yes No

Are image resolution, contrast, and brightness adequate for distinguishing key image features? Yes No

Are all key anatomical structures and diagnostic indicators, such as waveform peaks, fully visible? Yes No

Are all necessary image labels and annotations, including Doppler indices, visible and correct? Yes No

Is the image de-identified of any patient information? Yes No

Should this image therefore be included? Yes No

TABLE 2: Steps in assessing image quality.

Any image with a ‘No’ response to any criterion shall be excluded from the dataset.

Labeling categories and definitions

Each image shall be tagged with attributes, where applicable, as shown in Table 3. Each image shall be

assigned a labeling category using relevant clinical parameters and Doppler indices shown in Table 4 below.

Label name Definition Possible values

Gestational age

(GA)

Weeks of pregnancy when the

image was taken

Numeric (weeks)

Image type

Type of Doppler

ultrasonographic scan

AFI; MCA Doppler; umbilical artery Doppler; right uterine artery Doppler; left uterine

artery Doppler; placenta (grayscale); FHR

Resistance index

(RI)

Blood flow resistance in an

artery

Numeric (range)

Pulsatility index

(PI)

A measure of flow resistance Numeric

Amniotic fluid

index (AFI)

Measurement of amniotic fluid

volume

Numeric (cm)

Cerebroplacental

ratio (CPR)

Ratio of MCA-PI to umbilical

artery PI

Normal; Abnormal

FHR (bpm) Fetal heart rate Numeric

TABLE 3: Labeling categories and definitions.

GA: Gestational age; AFI: Amniotic fluid index; MCA: Middle cerebral artery; RI: Resistance index; PI: Pulsatility index; CPR: Cerebroplacental ratio; FHR:

Fetal heart rate; bpm: beats per minute; cm: centimeter(s).

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 10 of 15

Image Category Description

Key Doppler

Indices to Label

Normal Ranges Label as:

Amniotic Fluid Index

(AFI) Image

4-quadrant measurement of

amniotic fluid volume

AFI (cm) 5-25 cm

<5: Oligohydramnios (suggestive of

complications); >25: Polyhydramnios

Middle Cerebral

Artery (MCA)

Doppler

Measures fetal cerebral

blood flow

Systolic/diastolic

ratio (S/D)

4.4-6.0 (GAdependent)

<4.0: Fetal hypoxia

Resistance

Index (RI)

0.70-0.85 (GAdependent)

<0.70: Fetal hypoxia

Pulsatility Index

(PI)

1.5-2.0 (GAdependent)

<1.0: Fetal hypoxia

Cerebroplacental

ratio (CPR)

>1.08 (may be GAdependent

by

protocol)

<1.08: Fetal hypoxia

MCA-PSV

(cm/s)

(GA-dependent) Low indicates brain hypoperfusion

Umbilical Artery

Doppler

Assesses placental

resistance

Systolic/diastolic

ratio (S/D)

<3.0 (GA-dependent) >3.0: Increased placental resistance

Resistance

Index (RI)

0.50-0.62 (GAdependent)

>0.62: Risk of pre-eclampsia

Pulsatility Index

(PI)

1.0-1.6 (GAdependent)

High: Risk of pre-eclampsia; Low: Fetal

hypovolemia

Right Uterine Artery

Doppler

Measures maternal-fetal

blood flow on the right side

Systolic/diastolic

ratio (S/D)

<2.6 (GA-dependent) High: Risk of pre-eclampsia

Resistance

Index (RI)

<0.55 (GA-dependent) >0.55: Impaired placental perfusion

Pulsatility Index

(PI)

<1.4 (GA-dependent) >1.4: Fetal growth restriction

Left Uterine Artery

Doppler

Measures maternal-fetal

blood flow on the left side

Systolic/diastolic

ratio (S/D)

<2.6 (GA-dependent) High: Risk of pre-eclampsia

Resistance

Index (RI)

<0.55 (GA-dependent) >0.55: Impaired placental perfusion

Pulsatility Index

(PI)

<1.4 (GA-dependent) >1.4: Fetal growth restriction

Fetal Heart Rate

(FHR) Image

Measures fetal heart rate Heart rate (bpm) 110-160 bpm <110: Bradycardia; >160: Tachycardia

Placental Image Assesses placental maturity Grading (1-3) - -

Worksheet

Summarizes indices of all

images

Not applicable N/A N/A

TABLE 4: Imaging labeling categories and Doppler indices.

Image annotation guidelines

The aim of image annotation is to label visual data with tags, boundaries, or pixel-level marks for AI and

machine learning models to understand, interpret, and learn from them. We shall use bounding boxes or

segmentation masks to highlight key anatomical structures, apply standardized labels for each feature

detected, and label regions of interest (ROI) for AI training.

Quality control and verification

Each image shall mandatorily be reviewed by at least two medical experts before inclusion in the dataset.

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 11 of 15

Labeling disagreements shall be resolved by a senior radiologist or obstetrician. AI-labeled images shall be

compared against expert-labeled images for validation. Periodic inter-rater reliability (IRR) assessments

should be conducted.

Data storage and management

All images shall be de-identified and anonymized to remove any remaining patient identifiers and assigned

standard file names using a consistent format. All files shall be stored in formats such as DICOM, PNG, or

TIFF (Figure 2-8) in a structured dataset for AI training.

Expected outcomes

We shall develop a high-quality labeled dataset to train an AI model for detecting preeclampsia-related

complications. Improved accuracy and early detection of placental insufficiency, fetal distress, and maternal

complications shall be enabled using this dataset. A scalable model that can be used in low-resource settings

for real-time clinical decision-making shall be developed. Before starting the labelling process, a training

session will be conducted for all labelers, including expert radiologists, sonographers, and obstetricians.

Each labeled image will be reviewed by two experts to ensure accuracy and reduce subjective bias. In case of

discrepancies, a third expert reviewer will be consulted. A comprehensive labeling guide will be provided,

regular quality checks performed, and feedback collected from annotators.

Data management

De-identified relevant metadata will be summarized from the images and linked to the corresponding USG

image. All images will be stored in the Digital Imaging and Communications in Medicine (DICOM) format

and hosted by the DMAC at the Mbarara University Data Science Research Hub, on the Mbarara University of

Science and Technology server.

Machine learning model development and evaluation

The machine learning model will be developed and evaluated through a five-stage pipeline comprising: (1)

data acquisition and preprocessing, including image enhancement (noise reduction, contrast limited

adaptive histogram equalization (CLAHE), resolution normalization, orientation correction), clinical

metadata standardization, and data augmentation to improve diversity; (2) dataset splitting into training

(70%), validation (15%), and test (15%) sets with stratification to preserve case proportions; (3) model

architecture, exploring a custom convolutional neural network (CNN), transfer learning with residual

network with 50 layers (ResNet50), DenseNet121, and EfficientNet-B3, and multimodal fusion of image and

clinical data; (4) model training using Adam and stochastic gradient descent (SGD) optimizers, appropriate

loss functions, early stopping, and learning rate scheduling; and (5) model evaluation with metrics such as

accuracy, sensitivity, specificity, receiver operating characteristic (ROC) curve, AUC, and F1-score, statistical

significance testing, and gradient-weighted class activation mapping (CAM) visualizations for explainability.

Data governance will be overseen by a dedicated committee to ensure quality, mitigate bias, and maintain

reproducibility.

Ethics and dissemination

Ethical clearance was obtained from the Research Ethics Committee (REC) at Mbarara University of Science

and Technology (Registration number: MUST-2024-1321) and the National Council for Science and

Technology in Uganda (Registration number: HS3890ES). Study site administrative clearance was obtained

from the Hospital Director of Divine Mercy Hospital-Father Bash Foundation. All clinical metadata and

images will be de-identified and anonymized before uploading to the DMAC.

Results

The primary outcome of this research project will be the development of an annotated Doppler USG dataset.

The study will generate a comprehensive, de-identified dataset of obstetric Doppler ultrasonographic images

linked to structured clinical metadata. Images will include amniotic fluid index, fetal heart rate, umbilical

artery, middle cerebral artery, uterine arteries, and placenta. Quality assurance will be achieved through

preprocessing steps such as noise reduction, artifact removal, contrast enhancement, and normalization of

resolution and orientation. Each image will undergo dual expert review, with discrepancies adjudicated by a

third reviewer. Inter-annotator agreement will be quantified using reliability metrics (e.g., Cohen’s or Fleiss’

kappa), and annotation completeness rates will be reported. All images will be stored in DICOM format and

archived securely on the DMAC infrastructure.

The secondary outcome will be a predictive AI tool for pre-eclampsia complications. This will include the

development of a multimodal AI tool to predict maternal and fetal complications of pre-eclampsia,

supporting early treatment and delivery decisions. Architectures explored will include a custom

convolutional neural network and transfer learning models such as ResNet50, DenseNet121, and

EfficientNet-B3. Fusion of image features with clinical metadata will be evaluated to enhance predictive

performance. Training will employ stratified dataset splits (70% training, 15% validation, 15% testing), with

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 12 of 15

augmentation strategies to improve diversity. Performance will be reported using accuracy, sensitivity,

specificity, ROC-AUC, and F1-score, with statistical testing and confidence intervals. Explainability will be

assessed through Grad-CAM visualizations, highlighting clinically relevant regions aligned with expert

annotations.

Discussion

This pilot study represents a novel, timely, and contextually relevant initiative to leverage emerging AI in

the analysis and interpretation of ultrasonographic images for early detection and management of preeclampsia

and related complications among pregnant women in Uganda. Maternal and perinatal outcomes

remain suboptimal in Uganda [23, 24], partly due to delayed diagnosis and limited access to specialized

imaging services [25, 26]. This study proposes to develop a rich dataset of USG images and introduce an

innovative, context-adapted, AI-driven diagnostic and clinical decision-making support tool. This may

ultimately improve maternal and neonatal outcomes.

Globally, AI has been successfully applied to obstetric USG in the determination of fetal sex, estimation of

gestational age, and detection of congenital anomalies [27, 28]. This, however, has primarily occurred in

high-income countries with advanced imaging technologies, strong digital infrastructure, and wellannotated

datasets [29]. This study will create one of the first annotated datasets in sub-Saharan Africa,

collected entirely from an African population. The dataset produced will fill a major gap in global AI

research, which currently underrepresents low- and middle-income countries [30]. This will make the

resulting AI model more relevant and adaptable to the clinical realities in Uganda and sub-Saharan Africa at

large. This may also advance equity by ensuring that AI and machine learning models for obstetric care used

in Africa are trained on African data.

The proposed study includes collecting images from pregnant women both with and without pre-eclampsia,

which shall enable the creation of a comprehensive dataset and the development of a machine learning

model capable of distinguishing between normal and pathological Doppler USG patterns [31]. The data

collection process, involving structured image acquisition and annotation, shall ensure data quality and

reproducibility, while the inclusion of relevant clinical data, such as blood pressure measurements,

laboratory findings, and USS data, may add a critical layer of contextual information to support model

training and validation.

From a health system perspective, this initiative aligns closely with the Uganda Ministry of Health Digital

Health Strategy 2020/21-2024/25, which emphasizes innovations that enhance clinical decision-making,

improve access to quality care, and strengthen digital health infrastructure [32]. AI is recognized as a

transformative approach that is poised to improve the healthcare system, especially in areas with a scarcity

of resources and healthcare workforce [33]. Furthermore, maternal health is a key pillar in national health

plans and Sustainable Development Goal (SDG) targets for health [34]. The integration of AI into the

maternal care pathway, particularly to aid the diagnosis of disorders of pregnancy such as pre-eclampsia,

supports these broader goals. In settings where sonographers and radiologists are scarce, AI-driven

interpretation of Doppler ultrasonographic images may improve diagnostic accuracy, optimize referral

decisions, and enable timely interventions. These improvements are particularly crucial for pre-eclampsia,

which remains a major contributor to maternal and perinatal morbidity and mortality in Uganda and across

sub-Saharan Africa [35,36].

Despite the study’s strengths, several limitations must be acknowledged. As a pilot with a relatively small

sample size of 150 participants yielding approximately 900 images, the generalizability of the resulting

dataset and AI model may be limited. The model’s predictive performance will largely depend on the

consistency of image quality and annotation, which may vary depending on operator skill and

environmental factors. Furthermore, while the study will benefit from strong project infrastructure, routine

adoption across Uganda’s health system would necessitate substantial investment in digital infrastructure,

training, and regulatory oversight. Data privacy, informed consent, and clinical accountability for AIgenerated

recommendations are critical areas requiring formal policy guidance [37,38]. The Ministry of

Health will need to develop and enforce standards for the validation, deployment, and monitoring of AI

tools in clinical practice, including integration into existing health information systems.

This protocol presents a study that could provide valuable evidence for the application of AI in maternal

healthcare within resource-limited settings. However, this pilot study will collect images using a crosssectional

design with a single interaction with enrolled participants, yet complications of pre-eclampsia

develop over time, from 20 to 40 weeks of gestation. This study will provide a preliminary basis for

longitudinal follow-up of patients with pre-eclampsia from diagnosis/onset until delivery, or until

complications are detected, to support appropriate management.

Conclusions

By developing and testing a locally trained machine learning model using Doppler USG images, this study

proposes to address a critical diagnostic gap in obstetric care. The findings will not only inform future scaleup

and integration of AI into Uganda’s maternal health services but also contribute to a growing body of

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 13 of 15

evidence advocating for context-specific AI solutions to global health challenges. This work will demonstrate

the feasibility of training a clinically relevant AI model in a low-resource setting using locally sourced and

annotated Doppler ultrasound images. By integrating multimodal data (imaging plus clinical parameters),

the model is expected to outperform image-only approaches in predictive accuracy.

Additional Information

Author Contributions

All authors have reviewed the final version to be published and agreed to be accountable for all aspects of the

work.

Concept and design: Mugyenyi R. Godfrey, Esther C Atukunda, Fredrick Atwiine, Rogers Mwavu, Fred

Kaggwa, William Wasswa

Acquisition, analysis, or interpretation of data: Mugyenyi R. Godfrey, Esther C Atukunda, Fredrick

Atwiine, Leo Anthony Celi, Rogers Mwavu, Jessica E Haberer, William Wasswa

Drafting of the manuscript: Mugyenyi R. Godfrey, Fredrick Atwiine

Critical review of the manuscript for important intellectual content: Mugyenyi R. Godfrey, Esther C

Atukunda, Fredrick Atwiine, Leo Anthony Celi, Rogers Mwavu, Fred Kaggwa, Jessica E Haberer, William

Wasswa

Supervision: Esther C Atukunda, Leo Anthony Celi, Fred Kaggwa, Jessica E Haberer, William Wasswa

Disclosures

Human subjects: Informed consent for treatment and open access publication was obtained or waived by all

participants in this study. Mbarara University of Science and Technology Research Ethics Committee (MUSTREC)

issued approval MUST-2024-1321. Animal subjects: All authors have confirmed that this study did not

involve animal subjects or tissue. Conflicts of interest: In compliance with the ICMJE uniform disclosure

form, all authors declare the following: Payment/services info: All authors have declared that no financial

support was received from any organization for the submitted work. Financial relationships: Jessica E.

Haberer declare(s) employment and stock/stock options from Harvard Medical School, Massachusetts

General Hospital, Boston, USA . Jessica E. Haberer is a paid consultant for Merck and owns stock in Natera.

Other relationships: All authors have declared that there are no other relationships or activities that could

appear to have influenced the submitted work.

Acknowledgements

The authors acknowledge the efforts of the entire research team, including Leonard Agaba Amanya, Eliot

Ayebare, Prossy Tusiime, Ruth Nakadama, Jones Obungiloch, Jemes Ssemitego, Chrispus Mbusa, Amos

Baryashaba, Stuart Turanzyomwe, and Edwin Nahabwe.

References

1. Ulrich CC, Dewald O: Pregnancy Ultrasound Evaluation. StatPearls Publishing, Treasure Island, FL; 2025.

2. Kim ET, Singh K, Moran A, Armbruster D, Kozuki N: Obstetric ultrasound use in low and middle income

countries: a narrative review. Reprod Health. 2018, 15:129. 10.1186/s12978-018-0571-y

3. Haluzani S, Lungu S, Mudenda M, Et al. : Quality of ultrasound images by midwives implementing

ultrasound scanning services during antenatal clinics within selected healthcare facilities of Zambia.

WFUMB Ultrasound Open. 2024, 2:100057. 10.1016/j.wfumbo.2024.100057

4. Choi H, Kim HS, Sakong J: Rates and subsequent clinical course of fetal congenital anomalies detected by

prenatal targeted ultrasonography of 137 cases over 5 years in a single institute: a retrospective

observational study. J Yeungnam Med Sci. 2023, 40:268-275. 10.12701/jyms.2022.00514

5. Schiffer V, van Haren A, De Cubber L, et al.: Ultrasound evaluation of the placenta in healthy and placental

syndrome pregnancies: a systematic review. Eur J Obstet Gynecol Reprod Biol. 2021, 262:45-56.

10.1016/j.ejogrb.2021.04.042

6. Bamfo JE, Odibo AO: Diagnosis and management of fetal growth restriction . J Pregnancy. 2011,

2011:640715. 10.1155/2011/640715

7. Kuckian P, Mahendru AA: Doppler ultrasound in obstetrics. Obstet Gynaecol Reprod Med. 2021, 31:327-334.

10.1016/j.ogrm.2021.10.001

8. Vogel JP, Vannevel V, Robbers G, et al.: Prevalence of abnormal umbilical arterial flow on Doppler

ultrasound in low-risk and unselected pregnant women: a systematic review. Reprod Health. 2021, 18:38.

10.1186/s12978-021-01088-w

9. Granese R, Gulino FA, Incognito GG, Cianci S, Martinelli C, Ercoli A: Ultrasonographic prenatal diagnosis:

unveiling the path to improved antenatal care. J Clin Med. 2023, 12: 10.3390/jcm12134450

10. Arain Z, Iliodromiti S, Slabaugh G, David AL, Chowdhury TT: Machine learning and disease prediction in

obstetrics. Curr Res Physiol. 2023, 6:100099. 10.1016/j.crphys.2023.100099

11. Yazdani A, Costa S, Kroon B: Artificial intelligence: friend or foe?. Aust N Zeal J Obstet Gynaecol. 2023,

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 14 of 15

63:127-130. 10.1111/ajo.13661

12. Marcinkevičs R, Reis WP, Klimiene U, et al.: Interpretable and intervenable ultrasonography-based machine

learning models for pediatric appendicitis. Med Image Anal. 2024, 91:103042. 10.1016/j.media.2023.103042

13. Sivari E, Civelek Z, Sahin S: Determination and classification of fetal sex on ultrasound images with deep

learning. Expert Syst Appl. 2024, 240:122508. 10.1016/j.eswa.2023.122508

14. Sallam M, Snygg J, Allam D, Kassem R, Damani M: Artificial intelligence in clinical medicine: a SWOT

analysis of AI progress in diagnostics, therapeutics, and safety. J Innov Med Res. 2025, 4:1-20.

10.63593/JIMR.2788-7022.2025.06.001

15. Whitworth M, Bricker L, Mullan C: Ultrasound for fetal assessment in early pregnancy . Cochrane Database

Syst Rev. 2015, 2015:CD007058. 10.1002/14651858.CD007058.pub3

16. Ministry of Health, Uganda: DATA-DRIVEN RESPONSE: Bridging Health System Gaps for better Maternal

and Perinatal Outcomes. (2023). https://www.scribd.com/document/757561518/National-MPDSR-Reportfor-

FY-2022-2023-7th-Edition.

17. Nakisige C, de Fouw M, Kabukye J, et al.: Artificial intelligence and visual inspection in cervical cancer

screening. Int J Gynecol Cancer. 2023, 33:1515-1521. 10.1136/ijgc-2023-004397

18. Mutiibwa D, Turanzomwe S, Atukunda EC, Mugyenyi GR: Colonoscopy findings at Divine Mercy Hospital-

Father Bash Foundation, South-Western Uganda: a 6-year retrospective analysis. Open J Gastroenterol.

2025, 15:91-100. 10.4236/ojgas.2025.153010

19. Edan Acclarix LX25 . (2025). Accessed: May 18, 2025: https://www.edan.com/product/o/LX25.html.

20. Shams Esfand AM, Nikbakht S: Image denoising with two-dimensional adaptive filter algorithms . Iran J

Electr Electron Eng. 2011, 7:84-105.

21. Ying Y, Wang C, Fu Q, et al.: Techniques and challenges of image segmentation: a review . Electronics. 2023,

12:1199. 10.3390/electronics12051199

22. Mustafa WA, Abdul Kader MM: A review of histogram equalization techniques in image enhancement

application. J Phys Conf Ser. 2018, 1019:012026. 10.1088/1742-6596/1019/1/012026

23. Jjuuko M, Lugobe HM, Migisha R, et al.: Maternal near miss as a predictor of adverse perinatal outcomes:

findings from a prospective cohort study in southwestern Uganda. BMC Pregnancy Childbirth. 2024, 24:42.

10.1186/s12884-024-06244-1

24. Magunda A, Ononge S, Balaba D, et al.: Maternal and newborn healthcare utilization in Kampala urban

slums: perspectives of women, their spouses, and healthcare providers. BMC Pregnancy Childbirth. 2023,

23:321. 10.1186/s12884-023-05643-0

25. Musaba MW, Ndeezi G, Barageine JK, et al.: Incidence and determinants of perinatal mortality among

women with obstructed labour in eastern Uganda: a prospective cohort study. Matern Health Neonatol

Perinatol. 2021, 7:13. 10.1186/s40748-021-00133-7

26. Luntsi G, Ugwu AC, Ohagwu CC, Kalu O, Sidi M, Akpan E: Impact of ultrasound scanning on pregnant

Women's compliance with attendance at antenatal care visits and supervised delivery at primary healthcare

centres in northern Nigeria: initial experiences. Radiography (Lond). 2022, 28:480-486.

10.1016/j.radi.2022.01.003

27. Naz S, Noorani S, Jaffar Zaidi SA, Rahman AR, Sattar S, Das JK, Hoodbhoy Z: Use of artificial intelligence for

gestational age estimation: a systematic review and meta-analysis. Front Glob Womens Health. 2025,

6:1447579. 10.3389/fgwh.2025.1447579

28. Xiao S, Zhang J, Zhu Y, Zhang Z, Cao H, Xie M, Zhang L: Application and progress of artificial intelligence in

fetal ultrasound. J Clin Med. 2023, 12: 10.3390/jcm12093298

29. Horgan R, Nehme L, Abuhamad A: Artificial intelligence in obstetric ultrasound: a scoping review . Prenat

Diagn. 2023, 43:1176-1219. 10.1002/pd.6411

30. Gimovsky AC, Eke AC, Tuuli MG: Enhancing obstetric ultrasonography with artificial intelligence in

resource-limited settings. JAMA. 2024, 332:626-628. 10.1001/jama.2024.14794

31. Li T, Xu M, Wang Y, et al.: Prediction model of preeclampsia using machine learning based methods: a

population based cohort study in China. Front Endocrinol (Lausanne). 2024, 15:1345573.

10.3389/fendo.2024.1345573

32. The Uganda Health Information and Digital Health Strategic Plan 2020/21-2024/25. 2021, Ministry of

Health Uganda. (2020). Accessed: August 20, 2025: https://guluhospital.net/wpcontent/

uploads/2023/05/Health-Information-Digital-Health-Strategic-Plan_01032023.pdf.

33. Maleki VS, Forouzanfar M: The role of AI in hospitals and clinics: transforming healthcare in the 21st

century. Bioengineering (Basel). 2024, 11: 10.3390/bioengineering11040337

34. Amu H, Aboagye RG, Dowou RK, et al.: Towards achievement of Sustainable Development Goal 3: multilevel

analyses of demographic and health survey data on health insurance coverage and maternal healthcare

utilisation in sub-Saharan Africa. Int Health. 2023, 15:134-149. 10.1093/inthealth/ihac017

35. Nabukalu JB, Asamani JA, Nabyonga-Orem J: Monitoring Sustainable Development Goal 3: assessing the

readiness of low- and middle-income countries. Int J Health Policy Manag. 2020, 9:297-308.

10.15171/ijhpm.2019.134

36. Namagembe I, Karavadra B, Kazibwe L, et al.: Implementation challenges in preeclampsia care: perspectives

from health care professionals in urban Uganda. AJOG Glob Rep. 2024, 4:100348.

10.1016/j.xagr.2024.100348

37. Machano MM, Joho AA: Prevalence and risk factors associated with severe pre-eclampsia among postpartum

women in Zanzibar: a cross-sectional study. BMC Public Health. 2020, 20:1347. 10.1186/s12889-020-09384-z

38. Mondal H, Mondal S: Chapter Thirteen: Ethical and social issues related to AI in healthcare . Methods in

Microbiology. Srivastava A, Mishra V (ed): Academic Press, Cambridge, Massachusetts; 2024. 247-281.

10.1016/bs.mim.2024.05.009

2026 Godfrey et al. Cureus 18(1): e101406. DOI 10.7759/cureus.101406 15 of 15